## Sheet1
Lista produse DICKSON DATA
Pentru preturile actualizate va rugam sa ne contactati
Item Number | Item Description
A015 | DicksonWare Software and Serial download cable
A016 | DicksonWare Software and USB download cable
A025 | DicksonWare SECURE Software and Serial download cable
A026 | DicksonWare SECURE Software and USB download cable
A060 | DicksonWare Serial Download Cable
A061 | DicksonWare USB Download Cable
A987 | 10' (3m) Pod Extension Cable
A100 | 3V Lithium Coin Cell Battery
A116 | Sensaphone Sensor
A124 | 3V Lithium Battery #CR2450 for SP125/175/TP125
A125 | 3V Lithium Battery #RL1213A
A126 | AA Lithium Battery 4-pk
A170 | Serial to USB Adapter
A202 | 100’ Straight Extension Cable K-TC
A203 | 6" High Temperature Basic Probe, +2100 deg. F, with 4’ leadwire K-TC
A210 | Extra FLASH Memory Card
A220 | Card Reader w/FLASH Memory Card
A340 | Glycol Bottle with Septum Lid
A713 | Small Water Resistant Pouch
A715 | Small Locking Wall Mount Case
A720 | Locking case for PR100 and PR300
A721 | Locking case for PR125/325/525
A791 | Pressure Fitting Accessory Kit
A792 | Steam Pressure Pigtail
A793 | Fire Hydrant Adapter Kit
A867 | Probe Dust Filter
A870 | 7 ft Network Cable (Category 5 Ethernet cable)
A871 | 25 ft Network Cable (Category 5 Ethernet cable)
BBR625 | Chart Recorder, 6" Temperature with remote probe, digital display, alarm and relay contact for Blood and Tissue Banks
C007 | Chart 4" 121 to 240 V/AC 7 Day
C009 | Chart 4" 120 to 240 V/AC 24 Hour
C010 | Chart 4" 0 to 100 F/C/PSI, 24 Hour
C011 | Chart 4" -40/0/50 24 Hour
C012 | Chart 4" 0 to 100 F/C/PSI 7 Day
C015 | Chart 4" -20/120 24 Hour
C017 | Chart 4" -20/120 7 Day
C021 | Chart 4" 30VAC/100PSI 24 Hour
C022 | Chart 4" 0 to 300 PSI, 24 Hour
C025 | Chart 4" 0 to 150 PSI, 24 Hour
C026 | Chart 4" 0 to 200 PSI, 24 Hour
C028 | Chart 4" 0 to 500 PSI, 24 Hour
C029 | Chart 4" 0/60 24 Hour
C031 | Chart 4" 0/200 5 Hour
C032 | Chart 4" 0 to +250 F, 24 Hour
C035 | Chart 4" 0 to 150 F/C/PSI, 7 Day
C036 | Chart 4" 0 to 300 F/C/PSI, 7 Day
C039 | Chart 4" 0 to +250 F, 7 Day
C040 | Chart 4" 0 to 200 F/C/PSI, 7 Day
C041 | Chart 4" 0 to 60, 7 Day
C042 | Chart 4" -40/0/50, 7 Day
C043 | Chart 4" 0 to 600 PSI, 7 Day
C049 | Chart 4" 100/220F 24 Hour
C050 | Chart 4" 65/30C 24 Hour
C053 | Chart 4" 10/45C 24 Hour
C056 | Chart 4" 0 to 500 PSI, 7 Day
C070 | Chart 4" 45/90 7 Day
C079 | Chart 4" 0/150 1 Hour
C081 | Chart 4" -50/0/50 24 Hour
C083 | Chart 4" -50/0/50 7 Day
C084 | Chart 4" +40/-50C 7 Day
C088 | Chart 4" 0/30 7 Day
C090 | Chart 4" 45/90 24 Hour
C091 | Chart 4" 0/45 24 Hour
C101 | Chart 4" 0/45 7 Day
C106 | Chart 4" 0/65 CFM, 0/2 CMM 24 Hour
C175 | Chart 4" 210/280F 12 Hour
C177 | Chart 4" -10/40C 0/100% 7 Day
C178 | Chart 4" -10/40C 0/100% 24 Hour
C180 | Chart 4" -30/50C 24 Hour
C181 | Chart 4" -30/50C 7 Day
C203 | Chart 4" 0/70F 7 Day with special highlighted band
C204 | Chart 4" -18/21C 7 Day with special highlighted band
C205 | Chart 4" -22 to 122F 24 Hour
C206 | Chart 4" -22 to 122F 7 Day
C207 | Chart 4" +7 to +32C 24 Hour
C208 | Chart 4" +7 to +32C 7 Day
C209 | Chart 4" -18 to +37C 24 Hour
C210 | Chart 4" -18 to +37C 7 Day
C301 | Chart 3" -14 to 32F, 24 Hour
C302 | Chart 3" -14 to 32F, 7 Day
C303 | Chart 3" +4 to +50F, 24 Hour
C304 | Chart 3" +4 to +50F, 7 Day
C305 | Chart 3" +50 to +96F, 24 Hour
C306 | Chart 3" +50 to +96F, 7 Day
C307 | Chart 3" +76 to +122F, 24 Hour
C308 | Chart 3" +76 to +122F, 7 Day
C309 | Chart 3" -25 to 0C, 24 Hour
C310 | Chart 3" -25 to 0C, 7 Day
C311 | Chart 3" -15 to +10C, 24 Hour
C312 | Chart 3" -15 to +10C, 7 Day
C313 | Chart 3" +10 to +35C, 24 Hour
C314 | Chart 3" +10 to +35C, 7 Day
C315 | Chart 3" +25 to +50C, 24 Hour
C316 | Chart 3" +25 to +50C, 7 Day
C317 | Chart 3" -5 to +20C, 24 Hour
C318 | Chart 3" -5 to +20C, 7 Day
C319 | Chart 3" +22 to +68F 24 Hour
C320 | Chart 3" +22 to +68F 7 Day
C401 | Chart 8" 40/0/50 7 Day
C402 | Chart 8" 0/1100 PPM 24 Hour (CO2X)
C404 | Chart 8" 0/2200 PPM 24 Hour (CO2X)
C405 | Chart 8" -.10/+.10 7 Day
C406 | Chart 8" -50/+50 31 Day FC
C407 | Chart 8" 0/250 31 Day FC
C408 | Chart 8" 0/500 31 Day F
C409 | Chart 8" 0/100 31 Day FC
C410 | Chart 8" 0/100 24 Hour
C411 | Chart 8" -50/+50 FC 24 Hour
C412 | Chart 8" 0/100 7 Day
C414 | Chart 8" -50/+50 FC 7 Day
C415 | Chart 8" -20/0/+120 FC 24 Hour
C417 | Chart 8" -20/0/+120F/C, 0/100% 7 Day
C418 | Chart 8" 0/1100 PPM 7 Day (CO2X)
C419 | Chart 8" 0/2200 PPM 7 Day (CO2X)
C420 | Chart 8" 0/10 24 Hour
C422 | Chart 8" 0/300 24 Hour
C424 | Chart 8" 0/30 24 Hour
C425 | Chart 8" 0/150 FC 24 Hour
C427 | Chart 8" 30/0/60 24 Hour
C428 | Chart 8" 0/500 F 24 Hour
C429 | Chart 8" 0/60 24 Hour
C431 | Chart 8" 0/300 7 Day
C432 | Chart 8" 0/250 FC 24 Hour
C435 | Chart 8" 0/150 FC 7 Day
C436 | Chart 8" 0/200 PSI 7 Day
C437 | Chart 8", 0/200, 0/100RH, 7 Day
C439 | Chart 8" 0/250 FC 7 Day
C440 | Chart 8" 0/1000 FC 7 Day
C441 | Chart 8" 0/1000 24 Hour
C442 | Chart 8" -150/+250 24 Hour
C443 | Chart 8" 0/2000 F 24 Hour
C444 | Chart 8" 0/2000 F 7 Day
C452 | Chart 8" 150/0/250F 7 Day
C453 | Chart 8" 0/14, 7 Day
C456 | Chart 8" 0/200 PSI 24 Hour
C457 | Chart 8" 0/14 24 Hour
C458 | Chart 8", 0/200, 0/100RH, 24 Hour
C459 | Chart 8" 0/500F 7 Day
C463 | Chart 8" 0/30 7 Day
C465 | Chart 8" 0/60 7 Day
C467 | Chart 8" ON/OFF 7 Day
C469 | Chart 8" ON/OFF 24 Hour
C471 | Chart 8" 45/90 7 Day
C472 | Chart 8" -20/+50C 0/100% 24 Hour
C473 | Chart 8" -20/50C 0/100% 7 Day
C476 | Chart 8" +40/+110F 0/100% 24 Hour
C477 | Chart 8" +40/+110F 0/100% 7 Day
C478 | Chart 8" +5/40C 0/100% 24 Hour
C479 | Chart 8" +5/+40C 0/100% 7 Day
C480 | Chart 8" -20/0/+120F/C, 0/100% 31 Day
C481 | Chart 8" +40/+110F 31 Day
C482 | Chart 8" -20/+50C 0/100% 31 Day
C483 | Chart 8" +5/+40C 0/100% 31 Day
C486 | Chart 8" -30/50C 24 Hour
C487 | Chart 8" -30/50C 7 Day
C495 | Chart 8" -.10/.10 24 Hour
C498 | Chart 8" 0/10 7 Day
C603 | Chart 6" 0/300 7 Day
C612 | Chart 6" 0/100 7 Day
C614 | Chart 6" +60/0/-40 24 Hour
C631 | Chart 6" 50/-50C 7 Day
C651 | Chart 6" -50/+50 FC 7 Day
C652 | Chart 6" -50/+50 FC 24 Hour
C653 | Chart 6" 0/50 FC 7 Day
C654 | Chart 6" 0/+50 FC 24 Hour
C655 | Chart 6" 50/100 FC 7 Day
C656 | Chart 6" 50/100 FC 24 Hour
C657 | Chart 6" 0/100 FC 7 Day
C658 | Chart 6" 0/100 FC 24 Hour
C659 | Chart 6" 0/250F 7 Day
C660 | Chart 6" 0/250 24 Hour
C661 | Chart 6" 0/500 7 Day
C662 | Chart 6" 0/500F 24 Hour
C663 | Chart 6" 0/50 FC 7 Day 0-100%
C664 | Chart 6" 0/50C 24 Hour
C665 | Chart 6" 0/200, 0/100%RH 7 Day
C667 | Chart 6" 0/200, 0/100% RH 24 Hour
C668 | Chart 6" 0-14, 7 Day
C669 | Chart 6" -20/120, 0-14, 7 Day
C671 | Chart 6" 0/200 FC 7 Day
C672 | Chart 6" 0/200 FC 24 Hour
C673 | Chart 6" 0/300, 7 Day
C674 | Chart 6" 0/300, 24 Hour
C675 | Chart 6" -10/10, 7 Day
C676 | Chart 6" -10/10, 24 Hour
D118 | Sensaphone Auto-dialer - 4 contacts
D119 | Sensaphone Auto-dialer - 8 contacts
D182 | Non-Contact Infrared Thermometer 12:1, -76 to +932ºF
D186 | Non-Contact Infrared Thermometer 12:1, -67 to +536ºF
D301 | Disposable Recorder -20/+100F 10 Day
D302 | Disposable Recorder -20/+100F 20 Day
D307 | Disposable Recorder -20/+100F 40 Day
D309 | Disposable Recorder -20/+100F 60 Day
D605 | Piercing Probe 4" with 5' coiled cable, +1650F, +900C
D606 | Angled Surface Probe
D608 | Immersion Probe 5" with 5’ coiled cable, +1650F
D617 | K-Thermocouple 10’ straight extension cable
D611 | K Thermocouple Shielded Immersion Probe w Stainless Steel Tip
E200 | 2 YEAR EXTENDED WARRANTY
ES120 | Data logger, 2 channel electronic signal: 0-20mA OR 0-5V
ET855 | Chart Recorder, 8" Universal Electronic 0-20mA, 4-20 mA, 0-5Vdc, 1-5Vdc
EV100 | Data Logger, Event
FH625 | Touchscreen Data Logger Temp & RH w User Replaceable Pod
FH635 | Touchscreen Data Logger Temp & RH w User Replaceable Pod, Relay
FT600 | Touchscreen Data Logger Temperature w User Replaceable Pod
FT620 | Touchscreen Data Logger w K Thermocouple Probe - 4ft
FT625 | Touchscreen Data Logger w Thermistor Probe
FT630 | Touchscreen Data Logger w 2 K Thermocouple Probes
FT640 | Touchscreen Data Logger w Thermister Probe in Glycol
FT645 | Touchscreen Data Logger w 2 Thermister Probes in Glycol
FT660 | Touchscreen Data Logger w RTD Probe
HT200 | High Temperature Waterproof USB Data Logger
HT220 | High Temperature Waterproof USB Data Logger with 2" Piercing Probe
HT225 | High Temperature Waterproof USB Data Logger with 5" Piercing Probe
KT621 | Chart Recorder, 6" Temperature with remote probe
KT622 | Chart Recorder, 6" Temperature with remote probe and digital display
KT625 | Chart Recorder, 6" Temperature with remote probe, digital display, alarm and relay contact
KT800 | 8" Thermocouple Recorder - Battery Operated
KT802 | 8" Thermocouple Recorder with display
KT803 | 8" Thermocouple Recorder with display and audible/visual alarm
KT856 | 8" Dual Thermocouple Recorder with display, audible/visual alarm and relay contacts
MM120 | Alarm Thermometer with one probe
MM125 | Alarm Thermometer with two probes
MP100 | Multipoint Monitor (MPM), including AC adapter, 25’ extension cable
N100 | Basic 1-point NIST Calibration
N150 | Basic 1-point NIST Re-Calibration
N300 | 3-point NIST Calibration
N350 | 3-point NIST Re-Calibration
N400 | Compliance-Max A2LA-17025 3-Point Calibration
N450 | Compliance-Max A2LA-17025 3-Point Re-Calibration
N520 | Certificate of Validation (No NIST)
N525 | IQOQ Validation Package
N550 | 3-point Non-A2LA Ultima NIST for before and after calibration points
N995 | Custom Temperature Point Calibration (Customer identifies custom calibration points - temperature only)
N999 | NIST Reprint
P222 | Pens, 6-pack, Red
P226 | Pens, 6-pack, Blue
P246 | Pens (3 red & 3 blue) - Temp & Humidity Models
P266 | Pens (3 red & 3 blue) - Two Pen ES or KT Models
PR100 | Pressure Data Logger 0 to 100 PSI
PR300 | Pressure Data Logger 0 to 300 PSI
PR125 | Pressure Data Logger 0 -100 PSI Pressure Data Logger
PR325 | Pressure Data Logger 0 -300 PSI Pressure Data Logger
PR525 | Pressure Data Logger 0 -500 PSI Pressure Data Logger
PW470 | Pressure 4" Chart Recorder 0 to 100 PSI, 7 Day
PW474 | Pressure 4" Chart Recorder 0 to 200 PSI, 7 Day
PW476 | Pressure 4" Chart Recorder 0 to 300 PSI, 7 Day
PW479 | Pressure 4" Chart Recorder 0 to 500 PSI, 24 Hour
PW860 | Splashproof Case Pressure 8" Chart Recorder 0 to 100 PSI, 7 Day
PW861 | Splashproof Case Pressure 8" Chart Recorder 0 to 100 PSI, 24 Hour
PW864 | Splashproof Case Pressure 8" Chart Recorder 0 to 200 PSI, 7 Day
PW865 | Splashproof Case Pressure 8" Chart Recorder 0 to 200 PSI, 24 Hour
PW866 | Splashproof Case Pressure 8" Chart Recorder 0 to 300 PSI, 7 Day
PW867 | Splashproof Case Pressure 8" Chart Recorder 0 to 300 PSI, 24 Hour
PW875 | Splashproof Case Pressure 8" Chart Recorder 0 to 1000 PSI, 24 Hour
R013 | Replacement bead wire probe ( K type) +500 deg. F
R022 | Filter Snubber Kit
R157 | AC Adapter
R065 | International Adapter Kit
R163 | 3.6V Lithium Battery
R165 | 3.6V Lithium Battery
R200 | Temp/RH PCS Right User Replaceable Sensor
R250 | Temp/RH PCS Straight User Replaceable Sensor
R300 | Temp PCS Right User Replaceable Sensor
R350 | Temp PCS Straight User Replaceable Sensor
R400 | K Thermocouple User Replaceable Sensor
R500 | Thermistor 1 Channel User Replaceable Sensor
R600 | PRTD User Replaceable Sensor
R700
R800 | Thermistor 2 Channel User Replaceable Sensor
R900
SC367 | Temperature Recorder 3", -14 to 32 deg. F, -25 to 0 deg. C, 24 hour/7 day
SC377 | Temperature Recorder 3", +4 to +50 deg. F, -15 to +10 deg. C, 24 hour/7 day
SC386 | Temperature Recorder 3", +22 to +68 deg. F, -5 to +20 deg. C, 24 hour/7 day
SC387 | Temperature Recorder 3", +50 to +96 deg. F, +10 to +35 deg. C, 24 hour/7 day
SC397 | Temperature Recorder 3", +76 to +122 deg. F, +25 to +50 deg. C, 24 hour/7 day
SK550 | Compact Temperature USB Data Logger 12-pack
SL4100 | Chart Recorder 4" Temperature with Display, 0 to +100F, -18 to 37C, 7 Day and 24 Hour
SL4350 | Chart Recorder 4" Temperature with Display, -22 to +122F, -30 to 50C, 7 Day and 24 Hour
SM300 | Temperature data logger with display, alarm, USB Port. Can use optional SD FLASH Memory Card.
SM320 | Temperature data logger with remote probe, display, alarm, USB Port. Can use optional SD FLASH Memory Card.
SM325 | Temperature data logger with 2 K-thermocouple probes, display, alarm, USB Port. Can use optional SD FLASH Memory Card.
SM420 | Temperature and humidity data logger with display, alarm, USB Port and RTD Probe. Can use optional SD FLASH Memory Card.
SP125 | Termperature Data Logger, self contained with USB port
SP175 | Termperature Data Logger with probe, self contained with USB port
SP425 | Data Logger, Temperature Start & Stop, USB and Digital Display
SW400 | One-Point Calibration Software for Data Loggers
SW701 | DicksonWare Upgrade
TC200 | Digital J, K, T-Thermocouple Temperature Indicator
TH300 | Digital Temperature/Humidity/Dew Point Indicator, carrying case
TH621 | Chart Recorder, 6" Temperature/Humidity
TH622 | Chart Recorder, 6" Temperature/Humidity with digital display
TH623 | Chart Recorder, 6" Temperature/Humidity with remote probe, digital display, and alarm
TH8P0 | Chart Recorder, 8" Battery-operated Temperature/Humidity/Dew Point
TH8P2 | Chart Recorder 8" Temperature/Humidity/Dew Point -120 VAC with display
TH8P3 | Chart Recorder 8" Temperature/Humidity/Dew Point -120 VAC with display, probe and audible/visual alarm
TH8P5 | Chart Recorder 8" Temperature/Humidity/Dew Point -120 VAC with display, probe, audible/visual alarm and relay contact
TK550 | Compact Temperature and Humidity USB Data Logger 12-pack
TM320 | Temperature and humidity data logger with display, alarm, USB Port. Can use optional SD FLASH Memory Card.
TM325 | Temperature and humidity data logger with remote probe, display, alarm, USB Port. Can use optional SD FLASH Memory Card.
TP125 | Data logger, self-contained termperature and humidity with USB port
TP425 | Data Logger, Temperature/Humidity, Start & Stop, USB and Digital Display
VFC70 | Chart Recorder 4" Temperature with Display, -18/21C, 7 Day with digital display
VFC320 | Vaccine Temperature Data Logger with one probe and glycol bottle
VFC325 | Vaccine Temperature Data Logger with two probes and two glycol bottles
WAG00 | Wizard2 Repeater
SAS1A | 1 YEAR DATA PLAN Dickson One - 1-5 loggers
SAS1B | 1 YEAR DATA PLAN Dickson One - 6-20 loggers
SAS1C | 1 YEAR DATA PLAN Dickson One - 21-50 loggers
WFT20 | Dickson One wifi temperature logger with pod
WFT21 | Dickson One wifi 1 thermistor temperature data logger
WFT23 | Dickson One wifi 1 k-type thermocouple temperature data logger
WFT24 | Dickson One wifi dual k-type thermocouple temperature data logger
WFT25 | Dickson One wifi 1 RTD probe temperature data logger
WFH20 | Dickson One wifi temperature/ humidity logger with pod
ENT20 | Dickson One Ethernet temperature logger with pod
ENT22 | Dickson one Ethernet dual thermistor temperature logger
ENT23 | Dickson One Ethernet 1 k-type thermocouple temperature data logger
ENT24 | Dickson One Ethernet dual k-type thermocouple temperature data logger
ENT25 | Dickson One Ethernet 1 RTD probe temperature data logger
ENH20 | Dickson One Ethernet temperature/ humidity logger with pod
WHG45 | Temperature Humidity Data Logger with PCS and Alarm
WRG20 | Receiver with Standard Software
WRG23 | Receiver with Software with Text and Email Alerts
WRG25 | Receiver with 21CFR11 Compliant Software with Text/Email Alerts
WTG30 | Temperature Data Logger with 1 Probe and Glycol Bottle and Alarm
WTG35 | Temperature Data Logger with 2 Probes and Glycol Bottles and Alarm
WTG45 | Temperature Data Logger with 2 K-TC Probes and Alarm
WTG40 | Temperature Data Logger with 1 K-TC Probe and Alarm
WTG50 | Temperature Data Logger with RTD Probe and Alarm
WT640 | Ethernet Temperature Data Logger with 1 K-TC Probe and Alarm
WT630 | Ethernet Temperature Data Logger with 1 K-TC Probe and Glycol Bottle, Alarm
WT650 | Ethernet Temperature Data Logger with Platinum RTD Probe, Alarm
WH645 | Ethernet Temperature/Humidity Data Logger with PCS, Alarm
LRG20 | Laptop with Wizard2 Software and Receiver
LRG23 | Laptop, Wizard2 Software with Text/Email Alerts, and Receiver
LRG25 | Laptop, Wizard2 21CFR11 Software with Text/Email Alerts, and Receiver
RL500 | Temperature Report Logger (2014)
SW502 | Wizard2 21CFR11 Secure Software with Text/Email Alerts
SW501 | Wizard2 Software with Text/Email Alerts
DISCONTINUED DICKSON PRODUCTS
Item Number | Item Description
A035 | DicksonWare Software and Serial download cable - French
A036 | DicksonWare Software and USB download cable - French
A037 | DicksonWare SECURE Software and Serial download cable - French
A038 | DicksonWare SECURE Software and USB download cable - French
A045 | DicksonWare Software and Serial download cable - Spanish
A046 | DicksonWare Software and USB download cable - Spanish
A047 | DicksonWare SECURE Software and Serial download cable - Spanish
A048 | DicksonWare SECURE Software and USB download cable - Spanish
A070 | Palm Software and Download Cable (Palm 111 & V11)
A071 | Palm Software and Download Cable (Palm M100 & M105
A072 | Palm Software and Download Cable (Palm M500, M125 & M515
A117 | Temp Alert for D118
A118 | Remote Temp Sensor
A119 | Magnetic Reed Switch
A120 | Passive Infra-Red Motion Detector for Sensaphone
A121 | Water Detection Sensor for Sensaphone
A122 | Humidistat (10%-60% RH)
A130 | Dicksonware w/cable (D100/D200/D400)
A140 | Remote Temp Probe (10' cable length) D100
A150 | Accessory Remote Temperature Probe (SP120 & SX120)
A205 | Replacement RTD probe for D183 HACCP IR
A550 | Remote Sensor Module for D850
A708 | Carrying case - Hand Held & Display Logger
A709 | Carrying case - X Unit
A710 | Carrying Case, Handheld, SC3
A711 | Medium Water Resistant Pouch
A712 | Medium Locking Wall Mount Case
A714 | Case, H2O Resistant Midsize
A716 | Carrying Case (D165)
A717 | PR Pressure Logger Locking Case
A718 | Carrying Case (D167, D168)
A832 | Tamper Seals (60 seals)
A833 | Tie Down Cable
A834 | RH Humidity Calibration kit (11% and 75%)
A860 | Accessory 10’ (3.05m) extension cable for probe THDx
A865 | Accessory 50’ (15.25m) extension cable for probe THDx
A866 | Accessory 100’ (30.5m) extension cable for probe THDx
A880 | 10' Extension for TH6
A881 | Accessory Probe Extension Cable, 50’ TH6
A882 | Accessory Probe Extension Cable, 100’ TH6
D100 | Temperature Data Logger
D108 | T/H clock & calendar
D159 | PH/TDS/cord meter w/cal kit
D160 | Non-Contact Infrared Thermometer
D161 | Non-Contact Infrared Thermometer - with pulse laser
D162 | Non-Contact Infrared Thermometer with coaxial laser
D163 | 5/16" Compression fitting
D164 | Accessory 6" stainless steel basic probe (316 SS) +1650 deg. F, with 4’ leadwire
D165 | Non-Contact Infrared Thermometer 6:1
D166 | Non-Contact Infrared Thermometer 12:1
D167 | Non-Contact Infrared Thermometer 12:1
D168 | Non-Contact Infrared Thermometer 50:1
D169 | Non-Contact Infrared Thermometer 60:1
D173 | Non-Contact Infrared Thermometer 4:1
D174 | Non-Contact Infrared Thermometer 30:1
D176 | Non-Contact Infrared Thermometer with Flip-Down Probe, 2.5:1
D177 | Non-Contact Infrared Thermometer 30:1 Single Point -25 to +1100°F
D183 | Non-Contact Intrared Thermometer w/ flip-down probe 2.5:1, -30 to +525ºF, HACCP
D184 | Non-Contact Infrared Temperature Indicator 12:1, -76 to +932ºF
D185 | Non-Contact Infrared Temperature Indicator 20:1, -76 to +1400ºF
D190 | Digital moisture meter
D200 | Temp/Humidity Data Logger
D300 | -20/+100f 5d ONE USE RECORDER
D303 | -30/+37.5C 5d ONE USE RECORDER
D304 | -30/37.5c 10d ONE USE RECORDER
D305 | -30/37.5c 20d ONE USE RECORDER
D609 | Accessory T-Probe, 5' coiled cord +750 deg. F, +400 deg. C
D610 | Accessory J-Probe, 5' coiled cord +1400 deg. F, +760 deg. C
D850 | Radio Signal Remote Hygrometer
DW421 | DTW -50/50C 7 day
DW422 | DTW 0/100C 7 day
DW423 | DTW -50/+50F 7 day
DW424 | DTW -20/120F 7 day
DW425 | DTW 0/100F 7 day
DW426 | DTW 0/250F 7 day
DW427 | DTW 0/250F 24 h
ESX | ESX (electronic signal)
E100 | 1 YEAR EXTENDED WARRANTY
ES120A | Data logger, 2 channel electronic signal: 0-15V
ET601 | 120V Recorder with display, audible alarm and relay, data logging
ET605 | 240V Recorder with display, audible alarm and relay, data logging
ET609 | 240V Recorder-UK with display, audible alarm and relay, data logging
ET655 | 120V Recorder, 2 pen, with display, audible alarm and relay, data logging
ET656 | 240V Recorder, 2 pen, with display, audible alarm and relay, data logging
ET657 | 240V Recorder-UK, 2 pen, with display, audible alarm and relay, data logging
EV401 | 120 to 240 V/AC 7 Day
EV402 | 120 to 240 V/AC 24 Hour
FH121 | Paperless Recorder - Temperature and Humidity
FH125 | Paperless Recorder - Temperature and Humidity with Remote Probe
FH135 | Paperless Recorder - Temperature and Humidity (European Voltage)
FH145 | Paperless Recorder - Temperature and Humidity (UK Voltage)
FT121 | Paperless Recorder - Temperature with K Thermocouple
FT131 | Paperless Recorder - Temperature with K Thermocouple (European Voltage)
FT141 | Paperless Recorder - Temperature with K Thermocouple (UK Voltage)
FX320 | FAX LOGGER - K Thermocouple
FX420 | FAX LOGGER
FX430 | FAX LOGGER - Temperature and Humidity with Alarm
FX435 | FAX LOGGER - Remote Temperature and Humidity with Alarm
HT100 | High Temperature Data Logger
HT120 | High Temperature Data Logger with Piercing Probe
HT125 | High Temperature Data Logger with 5" Piercing Probe
KT601 | 120V Temperature Recorder
KT602 | 120V Temperature Recorder with display
KT603 | 120V Temperature Recorder with display, audible alarm and relay contact
KT605 | 240V Temperature Recorder
KT606 | 240V Temperature Recorder with display
KT607 | 240V Temperature Recorder with display, audible alarm and relay contact
KT609 | 240V Temperature Recorder-UK
KT610 | 240V Temperature Recorder-UK with display
KT611 | 240V Temperature Recorder-UK with display, audible alarm and relay contact
KT623 | Chart Recorder, 6" Temperature with remote probe, digital display, and alarm
KT655 | 120V 2-Channel Temperature Recorder with display, audible alarm and relay
KT656 | 240V 2-Channel Temperature Recorder with display, audible alarm and relay
KT657 | 240V 2-Channel Temperature Recorder-UK with display, audible alarm and relay
KT663 | 240V Temperature Recorder with display, audible alarm, relay contact and EMI shielding
KT801 | 8" Thermocouple Recorder
KT804 | 8" Thermocouple Recorder with display and audible/visual alarm and high temperature ranges
KT805 | 8" Thermocouple Recorder with display and audible/visual alarm and high temperature ranges and relays
KT855 | 8" Dual Thermocouple Recorder with display and audible/visual alarm
KTx | Thermocouple Recorder-120 VAC- with display, and audible/visual alarm
KTXA | Thermocouple Recorder W/ LOW TEMP RANGE
KTx-CE | Thermocouple Recorder-240 VAC- with display, and audible/visual alarm
KTxE | Thermocouple Recorder-120 VAC- with display, audible/visual alarm - higher temperature ranges
KTxE-CE | Thermocouple Recorder-240 VAC- with display, audible/visual alarm - higher temperature ranges
PL100 | Pressure Data Logger with Display 0 to 100 PSI
PL300 | Pressure Data Logger with Display 0 to 300 PSI
PL500 | Pressure Data Logger with Display 0 to 500 PSI
PR120 | USB Non-display 0 - 100 PSI Pressure Data Logger
PR320 | USB Non-display 0 -300 PSI Pressure Data Logger
PR500 | Pressure Data Logger 0 to 500 PSI
PR8-1000 | Pressure 8" Chart Recorder 0 to 1000 PSI, 24 Hour
PR8100PB24S | Pressure 8" Chart Recorder 0 to 100 PSI, 24 Hour
PR8100PB7S | Pressure 8" Chart Recorder 0 to 100 PSI, 7 Day
PR8200PB24S | Pressure 8" Chart Recorder 0 to 200 PSI, 24 Hour
PR8200PB7S | Pressure 8" Chart Recorder 0 to 200 PSI, 7 Day
PRXA | PRXA ( differential pressure)
PS100 | Pulse/flow data logger
PW452 | Pressure 4" Chart Recorder 0 to 150 PSI, 7 Day
PW453 | Pressure 4" Chart Recorder 0 to 150 PSI, 24 Hour
PW458 | Pressure 4" Chart Recorder 0 to 500 PSI, 7 Day
PW460 | 0 to 300 PSI, 7 day (FM approved, No on/off switch)
PW461 | 0 to 300 PSI, 7 day (Stainless Steel Bourdon, FM Approved, No On/Off Switch - Suitable for Salt Water Applications)
PW462 | 0 to 600 PSI, 7 day (Stainless Steel Bourdon, FM Approved, No On/Off Switch - Suitable for Salt Water Applications)
R107 | 6 pk Green Pens
R010 | Adapter, European AC
R011 | Adapter, British AC
R012 | AC Adapter, THDX, KTX
R109 | THDX wand assem, replacement
R158 | 240 V British Adapter - Display Loggers
R159 | 240 V European Adapter - Display Loggers
R160 | TH603 wand assembly
R168 | 15' TC probe shielded, non-grounded K-type for KT663 and KT665
SC312 | Temperature Recorder 3", -14 to 32 deg. F, -25 to 0 deg. C, 24 hour
SC317 | Temperature Recorder 3", -14 to 32 deg. F, -25 to 0 deg. C, 7 Day
SC322 | Temperature Recorder 3", +4 to +50 deg. F, -15 to +10 deg. C, 24 hour
SC327 | Temperature Recorder 3", +4 to +50 deg. F, -15 to +10 deg. C, 7 Day
SC332 | Temperature Recorder 3", +50 to +96 deg. F, +10 to +35 deg. C, 24 hour
SC337 | Temperature Recorder 3", +50 to +96 deg. F, +10 to +35 deg. C, 7 day
SC342 | Temperature Recorder 3", +76 to +122 deg. F, +25 to +50 deg. C, 24 hour
SC347 | Temperature Recorder 3", +76 to +122 deg. F, +25 to +50 deg. C, 7 day
SC352 | Temperature Recorder 3", +22 to +68 deg. F, -5 to +20 deg. C, 24 hour
SC357 | Temperature Recorder 3", +22 to +68 deg. F, -5 to +20 deg. C, 7 day
SC8-120-B-24 | SC8 -20/120f 24 hr
SC8-120-B-7 | SC8 -20/120 7 day
SK100 | Little logger, temp, single logger
SK180 | Data Logger, Compact Temperature
SK500 | Data Logger, Compact Temperature 12 pack
SK401 | Waterproof SK4 -20/+120F 7Day
SK4100F7 | TempTrace recorder, 0 to +100 deg. F, 7 day
SK4120F24 | TempTrace recorder, -20 to +120 deg. F, 24 hour
SK4120F7 | TempTrace recorder, -20 to +120 deg. F, 7 day
SK4350C7 | TempTrace recorder, -30 to +50 deg. C, 7 day
SL4100F7 | TempTrace recorder with display, 0 to +100 deg. F, 7 day
SL4120F24 | TempTrace recorder with display, -20 to +120 deg. F, 24 hour
SL4120F7 | TempTrace recorder with display, -20 to +120 deg. F, 7 day
SL4350C7 | TempTrace recorder with display, -30 to +50 deg. C, 7 day
SL490F7 | TempTrace recorder with display, +45 to +90 deg. F, 7 day
SM101 | Temperature data logger with display. One internal temperature
SM150 | Temperature data logger with display. One internal temperature, one external probe
SM175 | Temperature data logger with display with 2 K-thermocouple probes
SP100 | Data logger, self-contained temperature with Serial port
SP120 | Data logger, 2 channel temperature: 1 internal, 1 external with Serial port
SP150 | Data logger, 2 channel temperature: 1 internal, 1 external K-TC with Serial port
SP325 | Data Logger, Temperature Push-to-Start, USB and Digital Display
SR200 | Data logger, self-contained temp, push to start
SR300 | Data logger, self-contained temp, display
SX100 | Data logger, self-contained temperature with Serial port
SX120 | Data logger, Dual-Channel temperature (requires optional software and cable A015 & A150 probe required to use second channel)
TC100 | Digital K-Thermocouple Temperature Indicator
TC300 | Digital J, K, T-Thermocouple Temperature Indicator
TH100 | Digital Temperature/Humidity Indicator
TH600 | 120V Recorder
TH601 | 120V T/H Recorder
TH602 | 120V T/H Recorder with display
TH603 | 120V T/H Recorder with display, remote probe, audible alarm & relay
TH605 | 240V T/H Recorder
TH606 | 240V T/H Recorder with display
TH607 | 240V T/H Recorder with display, remote probe, audible alarm & relay
TH609 | 240V T/H Recorder-UK
TH610 | 240V T/H Recorder-UK with display
TH611 | 240V T/H Recorder-UK with display, remote probe, audible alarm & relay
TH625 | Chart Recorder, 6" Temperature/Humidity with remote probe, digital display, alarm and relay contact
TH801 | Chart Recorder, 8" Temperature/Humidity/Dew Point- 120 VAC
TH8-24C | TH8 -20/50c 24 hr
TH8-24F | TH8 -20/120f 24 hr
TH8-7C | TH8 -20/50c 7 day
TH8-7F | TH8 -20/120f 7day
THDx | Temperature/Humidity/Dew Point Recorder-120 VAC- with display, probe, and audible/visual alarm
THDx-CE | CE-Temperature/Humidity/Dew Point Recorder-240 VAC- with display, probe, and audible/visual alarm
THV97 | 0-100F TH4 7D
THV99 | (#C010) THV99 0/100F 24hr
TK120 | Little logger, temp/RH, single logger
TK180 | Data Logger, Compact Temperature/Humidity
TK500 | Data Logger, Compact Temperature/Humidity 12 pack
TM121 | Temperature and humidity data logger with display. Internal sensors
TM125 | Temperature and humidity data logger with display and remote TH probe
TP120 | Data logger, self-contained temperature and humidity with Serial port
TP325 | Data Logger, Temperature/Humidity, Push-to-Start, USB and Digital Display
TR220 | Data logger, self-contained temp/RH, push to start
TR320 | Data logger, self-contained temp/RH, display
TX120 | Data logger, self-contained temperature and humidity with Serial port
WA100 | WiZARD Wireless Repeater
WR100 | WiZARD Wireless Receiver with Software
WS100 | WiZARD Wireless Signal Sensor
WA400 | WiZARD2 Repeater
WH420 | WiZARD2 Temperature & Humidity Data Logger
WH425 | WiZARD2 Temperature & Humidity Data Logger with digital display
WH445 | WiZARD2 Temperature & Humidity Data Logger with digital display, probe, alarm, AC power
WH545 | WiZARD2 Ethernet Temperature/Humidity Logger with display, probe
WR420 | WiZARD2 Receiver with standard software
WR423 | WiZARD2 Receiver and Software with Email and Text Alert
WR425 | WiZARD2 Receiver with 21CFR11 Compliant Software
WT400 | WiZARD Wireless Temperature Data Logger
WT420 | WiZARD Wireless Temperature Data Logger with digital display
WT430 | WiZARD2 Temperature Logger with display, probe, glycol
WT440 | WiZARD2 Temperature Logger with digital display, remote probe, alarm
WT450 | WiZARD2 Temperature Logger with RTD probe
WT540 | WiZARD2 Ethernet Temperature Logger with display, probe
LR420 | Laptop with Wireless Software and Receiver
LR423 | Laptop, Wireless Software, Email/Text and Receiver
LR425 | Laptop, Wireless 21CFR11 Software and Receiver
SK4100 | Chart Recorder 4" Temperature 0 to +100F, -18 to 37C, 7 Day and 24 Hour
SK4350 | Chart Recorder 4" Temperature -22 to +122F, -30 to 50C, 7 Day and 24 Hour
DRG350 | Chart Recorder 4" Temperature with Display, -22 to +122F, -30 to 50C, 7 Day and 24 Hour
SL490 | Chart Recorder 4" Temperature with Disply, +45 to +90F, +7 to +32C, 7 Day and 24 Hours
FH525 | Graphing Data Logger Temperature/Humidity with remote probe
FH535 | Graphing Data Logger Temperature/Humidity with remote probe and relays
FT500 | Graphing Data Logger Temperature
FT520 | Graphing Data Logger Temperature with remote probe
FT525 | Graphing Data Logger Temperature with Thermistor probe
FT530 | Graphing Data Logger Temperature with two probes and relays
FT540 | Temperature with probe and glycol bottle
FT545 | Temperature with 2 probes and 2 glycol bottles
RL101 | Temperature Report Logger - 1 day
RL103 | Temperature Report Logger - 3 Days
RL107 | Temperature Report Logger - 7 days
RL110 | Temperature Report Logger - 10 days
RL120 | Temperature Report Logger - 20 days
RL140 | Temperature Report Logger - 40 days
RL175 | Temperature Report Logger - 75 days